Dartmouth College

COMMITTEE FOR THE PROTECTION OF HUMAN SUBJECTS

CPHS@Dartmouth.edu • 603-646-6482

CPHS – DEVICE FORM

CPHS#

Study Title:

PI:

- Please complete this section for all devices.  Complete a separate form for each device to be used in the study.

- Device Name:

- Device Description:

- Is this device commercially available? Yes______   No______

- If yes, is the device being used as marketed

- Describe how the device will be used in the study. Please include whether the device is being evaluated or is being used as a means for collection of data.

- Does this device introduce energy to the body?

- Does this device meet the FDA’s definition of medical device? Yes______   No______

Please explain:

- Complete this section only if the device is a medical device per the FDA’s definition.

- Please check one of the following:

____This device is commercially available and used as marketed.

____I am requesting a nonsignificant risk determination for the device from CPHS (complete section A below).

____ This is a Significant risk device (complete section B below)

____ Other (please contact CPHS staff prior to submission of this study)

A. Nonsignificant risk determination request. Please respond to items 1 and 2 below with the requested information.

Nonsignificant Risk Status

A nonsignificant risk device does not satisfy any of the below criteria for a significant risk device.  Risk level determinations should be based on the nature and seriousness of the harm that could result from the use of the device in the context of the investigational protocol.  Significant risk devices have a potential for harm to subjects that could:

(a) Be life-threatening;

(b) Result in permanent impairment of a body function;

(c) Result in permanent damage to body structure; or

(d) Necessitate medical or surgical intervention to preclude permanent impairment of body function or permanent damage to body structure.

Investigations that involve nonsignificant risk devices do not require FDA review, approval, or clearance.  The CPHS reviews these studies to assess the risks and benefits of participation by humans and may approve, disapprove, or require modifications in the protocol.

The CPHS may agree or disagree with a sponsor's or investigator’s nonsignificant risk designation.  In addition, the CPHS may request further justification of the designation and additional supporting information, e.g., reports of prior investigations using the device or its prototypes.  If the FDA or any other IRB (than the CPHS) has made a nonsignificant risk device determination, the CPHS should be promptly notified of these actions.  If the CPHS makes the determination that an investigation involves a nonsignificant risk device, the study may begin without FDA review.  If the CPHS determines that the study involves a significant risk device, the sponsor or investigator should notify the FDA that this determination has been made whether or not the study is conducted at this institution.

Please note: If your request for nonsignificant risk device determination is rejected by CPHS, the options for conducting the study are either:

- obtain an IDE # or 510(k) clearance for the device; or

- provide additional information for CPHS to reconsider its determination.

To request nonsignificant risk status for a device, answer items 1 and 2:

1. Please respond to each of the following criteria with an explanation for how each of these criteria (a-d below) for significant risk status does not apply to the device in question:

a. The device is intended as an implant and presents a potential for serious risk to the health, safety, or welfare of a subject; or

b. The device is purported or represented to be for a use in supporting or sustaining human life and presents a potential for serious risk to the health, safety, or welfare of a subject; or

c. The device is for a use of substantial importance in diagnosing, curing, mitigating, or treating disease, or otherwise preventing impairment of human health and presents a potential for serious risk to the health, safety, or welfare of a subject; or

d. The device otherwise presents a potential for serious risk to the health, safety, or welfare of a subject.

2. As noted above, risk level determinations should be based on the nature and seriousness of the harm that could result from the use of the device in the context of the investigational protocol.  Significant risk devices have a potential for harm to subjects that could:

(a) Be life-threatening;

(b) Result in permanent impairment of a body function;

(c) Result in permanent damage to body structure; or

(d) Necessitate medical or surgical intervention to preclude permanent impairment of body function or permanent damage to body structure.

Please provide information about the seriousness of the harm that could result from the use of the device in the context of the investigational protocol:

B. Significant Risk Device:

A significant risk device (21 C.F.R. 812.66) means an investigational medical device that:

(a) Is intended as an implant and presents a potential for serious risk to the health, safety, or welfare of a subject; or

(b) Is purported or represented to be for a use in supporting or sustaining human life and presents a potential for serious risk to the health, safety, or welfare of a subject; or

(c) Is for a use of substantial importance in diagnosing, curing, mitigating, or treating disease, or otherwise preventing impairment of human health and presents a potential for serious risk to the health, safety, or welfare of a subject; or

(d) Otherwise presents a potential for serious risk to the health, safety, or welfare of a subject.

______ Check here if the device meets this definition and answer the following:

1. If this study is being done under an Investigational Device Exemption from the FDA please provide:  IDE#: #________    or check here if the IDE is pending: ___

OR

2. If 510(k) notification for the device has been sent to FDA check here ____and either:

provide a copy of the documentation verifying 510(k) clearance, or

check here if 510(k) clearance is pending ___.

OR

3. Do you believe the study is an exempted investigation based on 21 C.F.R. 812.2(c 1-4)?

Please indicate the category of device you will use which allows for this exemption (see the longer descriptions in the regulations as they are very specific).

1) pre-1976 as labeled__, 2) equivalent as labeled__,  3) diagnostic__ , 4) preference, modification, combination (no additional risk)__.

Please note: The CPHS may approve, disapprove, or require modifications in a protocol that has been approved or cleared by the FDA.

C) The device was determined to be a Humanitarian Use Device by the FDA.

☐ Check here and please contact the CPHS Office regarding your study.